## GR&R Long
Gage R&R Long Form Study
Instructions for this form:
1) Type only in the shaded blocks.
2) If using coded data, be sure to write in the "Total Eng. Tolerance" in coded form.
3) This spreadsheet is set up for either a 5-part or 10-part study. Do not use for any other quantity!!
4) "Total Eng. Tolerance" and "Operator Names" MUST be filled in for the form to work properly!!
|  | Gage Name: |  |  |  | Part No.: |  |  |  | Performed By:
|  | Gage No.: |  |  |  | Part Name: |  |  |  | Operator A:
|  | Graduations: |  |  |  | Operation No.: |  |  |  | Operator B:
|  | Zero Equals: |  |  |  | Characteristic: |  |  |  | Operator C:
|  | Unit of Measure: |  |  |  | Specification: |  |  |  | Area:
[6 empty] | Total Eng. Tolerance: |  |  |  | Date:
Instructions for data collection:
1) Select 10 parts at random and number them 1 through 10. (5 parts may be used if necessary)
2) Have two or three operators measure each part independently, two or three times each. Record results below.
3) Analyze the results to determine variability due to both Repeatability and Reproducibility.
Operator | A: | 0 |  |  | Operator | B: | 0 |  |  | Operator | C:
Sample | Replications |  |  |  | Sample | Replications |  |  |  | Sample | Replications
Number | 1 | 2 | 3 | R | Number | 1 | 2 | 3 | R | Number | 1 | 2 | 3 | R
1 |  |  |  |  | 1 |  |  |  |  | 1
2 |  |  |  |  | 2 |  |  |  |  | 2
3 |  |  |  |  | 3 |  |  |  |  | 3
4 |  |  |  |  | 4 |  |  |  |  | 4
5 |  |  |  |  | 5 |  |  |  |  | 5
6 |  |  |  |  | 6 |  |  |  |  | 6
7 |  |  |  |  | 7 |  |  |  |  | 7
8 |  |  |  |  | 8 |  |  |  |  | 8
9 |  |  |  |  | 9 |  |  |  |  | 9
10 |  |  |  |  | 10 |  |  |  |  | 10
Totals |  |  |  |  | Totals |  |  |  |  | Totals
Means |  |  |  |  | Means |  |  |  |  | Means
| Xbar1 | Xbar2 | Xbar3 | RbarA |  | Xbar1 | Xbar2 | Xbar3 | RbarB |  | Xbar1 | Xbar2 | Xbar3 | RbarC
| XbarA = | Xbar1 + Xbar2 + Xbar3 |  |  |  | XbarB = | Xbar1 + Xbar2 + Xbar3 |  |  |  | XbarC = | Xbar1 + Xbar2 + Xbar3
|  | Replications |  |  |  |  | Replications |  |  |  |  | Replications
| XbarA = |  |  |  |  | XbarB = |  |  |  |  | XbarC =
Test for Statistical Control of Ranges
Rbar1 = | RbarA + RbarB + RbarC = |  |  |  | #VALUE! | = | #VALUE!
| Operators |  |  |  | 2
UCLR = | D4 * Rbar1 = |  |  | 2.574 | * | #VALUE! |  | = | #VALUE! |  | = Range Upper Control Limit
Note: D4 is based on the number of Replications. (See table below)
Gage R&R Long Form Study Analysis
Repeatability (Gage Variation)
SGV = | Rbar1 / d2 = |  | #VALUE! |  | / | 1.693 |  | = | #VALUE!
Note: d2 is based on the number of Replications. (See table below)
[10 empty] | Repeatability = 5.15 * SGV |  |  | #VALUE!
Percent of Engineering Tolerance Consumed by the Gage:
100 * 5.15 * SGV |  | = | #VALUE! |  | = | #VALUE!
Eng. Tolerance |  |  | 0
Reproducibility (Between Operator Variation)
Rbar2 = | XbarLargest of ABC - XbarSmallest of ABC = |  |  |  |  | 0 |  | - | 0 |  | = | 0
SOV = | Rbar2 / d2* = |  | 0 |  | / | 1.906 |  | = | 0
Note: d2* is based on the number of Operators. (See table) | [10 empty] | Number of parts = |  | 0
[11 empty] | Number of trials = |  | 0
[12 empty] | d2* = | 1.906
Percent of Engineering Tolerance consumed by Operator Variation: | [6 empty] | Reproducibility = {(Rbar2) X (5.15/d2*)}2 - {(Repeatability)2 / (No. parts X No. trials)} = | [5 empty] | #VALUE!
100 * 5.15 * SOV |  | = | 0 |  | = | #DIV/0!
Tolerance |  |  | 0
Combined Reproducibility and Repeatability (Measurement System)
PRODUCT SIGMA - * See special Supplier Note below
SMV = |  | SOV2 + SGV2 = |  |  | 0 | + | #VALUE! | = | #VALUE!
1) Percent of Engineering Tolerance consumed by measurement system: | [8 empty] | * SPECIAL SUPPLIER NOTE: Supplier needs to enter "Product Sigma" into HS Process Certification Database when creating a new Gage File for any HS defined KPCs/TKCs. Enter the Product Sigma into the database field entitled "Gage RR Std Deviation".
100 * 5.15 * SMV |  | = | #VALUE! |  | = | #VALUE!
Tolerance |  |  | 0
2) Percent of Process Tolerance (Combined Variability) consumed by measurement system:
R&R = (Repeatability)2 + (Reproducibility)2 = |  |  |  |  | #VALUE!
Percent Process Tolerance (Combined Variability) = (R&R)/(6/d2)*RbarCV = | [6 empty] | #VALUE! | * | 3.078 | / | 0 | = | #VALUE!
Range of Observations Within Each Trial
| Operator | 1st trial | 2nd Trial | 3rd Trial | TOTAL |  | CAUTION: Percent Process Tolerance value is only valid for 5-part or 10-part studies.
| A | 0 | 0 |  | 0
| B | 0 | 0 |  | 0
| C | 0 | 0 |  | 0
|  |  |  | Sum | 0
|  |  |  | RbarCV (Sum/No. Trials) | 0
Gage R&R Long Form Study Evaluation Guideline
1) GAGE CAPABILITY (GC) FOR PRODUCT ACCEPTANCE (% of Engineering Tolerance)
| GC as a % of Eng. Tolerance = (Gage R&R / Total Eng. Tolerance Range) * 100 = | [8 empty] | #VALUE!
* SPECIAL SUPPLIER NOTE: Supplier needs to enter "Product Sigma" into HS Process Certification Database when creating a
new Gage File for any HS defined KPCs/TKCs. Enter the Product Sigma into the database field entitled "Gage RR Std Deviation".
2) GAGE CAPABILITY FOR CONTROL CHART PURPOSES (% of Process Tolerance)
| % of Process Tolerance = (R&R / 5.15 x SigmaCV) * 100 = | [8 empty] | #VALUE!
[5 empty] | LEGEND | ACCEPTABLE | MARGINAL | UNACCEPTABLE
| Table of Factors used in calculations. |  |  |  | n | D4 | d2 | d2*
[5 empty] | 2 | 3.268 | 1.128 | 1.414
[5 empty] | 3 | 2.574 | 1.693 | 1.906
[5 empty] | 5 |  | 2.326
[5 empty] | 10 |  | 3.078
Study Observation
INSTRUCTIONS: Please record any significant observations, such as Operator/Inspector methodical differences, environmental factors (i.e., lighting, temperature, vibration, distractions, etc.), difiiculties in using the measurement system (i.e., obtaining readings, gage readability, ability to easily hold gage and/or part, etc.) that could influence the study results.